Function generator should be on before start

Power Amplifier should be on and set to maximum gain before start

USB Cables: (Positions matter, which is left which is right)

Function Generator (White) on Left

Plug Accelerometer to Here

Flip Switch Up

The blank spots should match to blank spots

There are five consecutive, followed by two blank, followed by one connection

From bottom to top

Attach Accelerometer here

Another Picture. Attach Here

Accelerometer is usually in this box